## Monthly_Production
S. No. | Category | Item Discription | Total Req. Qty | Total Stock Qty | Under Production Qty | Shortage Qty | Apex The Rio | PRECISION ENGINEERS (SIGNUM) | Evan Automation (DMRC) | SAP Exim (Mullanpur) | TRIMOORTI ELECTRICALS (SIGNATURE GOLF GREEN SECTOR - 79 GURGAON ) | Precision Engineer (Millenia-1 Guragon) | Precision engineer (Orchid Avenue) | Precision engineer (MIllennia - I project, Sector - 37D, Gurugram) | Greenko Suvaan Energy Pvt Ltd (Dhule) | SAIFI INTERIORS PVT LTD | Goel & Associates (ATS pious) | Iris (nobility) | GANPATI CONTRACTORS (Ajnara Panorama) | VNG Enterprises ATS Khyber range Ghazaibad | Capital Fire (Britania Bharuch) | JS Electricals (Godrej) | Iris (hero Homes) | SUPREMEX EQUIPMENTS | MK Engineer (Amity Lucknow) | Automation Systems & Solutions (India) Pvt Ltd (Bangalore) | Agrahari Communication (ATS Le Grandinios) | Trimoorti Electricsl (Godrej Noida) | Capital Fire Engineer co | Techart India | Mahagun Meadow tower-2 | Ahluwalia (Defence colony) | Goel & Associates (ATS Dolce Ph-2) | Daksh Automation (KVD)
1 | Add-Daksh | Smoke Detector w/o Base Addressable | 1463 | 13 | 0 | -1450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 25 | 0 | 0 | 0 | 1080 | 8 | 0 | 0 | 0 | 0 | 150 | 0
2 | Add-Daksh | Heat Detector w/o Base Addressable | 490 | 3 | 0 | -487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 30 | 0
3 | Add-Daksh | Multi Detector w/o Base Addressable | 0 | 32 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Add-Daksh | Manual Call Point Addressable | 2 | 79 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
5 | Add-Daksh | Input Module Addressable | 54 | 111 | 0 | 57 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0
6 | Add-Daksh | Add Monitor Module 1 Zone | 10 | 0 | 0 | -10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Add-Daksh | Add Monitor Module 2 Zone | 110 | 6 | 0 | -104 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 0 | 0 | 4 | 0 | 0 | 0
8 | Add-Daksh | Add Monitor Module 4 Zone | 34 | 3 | 0 | -31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0
0 | Add-Daksh | Add Monitor Module 6 Zone | 50 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0
9 | Add-Daksh | Add Monitor Module 8 Zone | 60 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Add-Daksh | Add Monitor Module 10 Zone | 76 | 24 | 0 | -52 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Add-Daksh | Control Module Addressable | 188 | 36 | 0 | -152 | 41 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0
12 | Add-Daksh | Short Circuit Isolator Base Type | 90 | 22 | 50 | -68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Add-Daksh | Short Circuit Isolator + Box | 71 | 0 | 0 | -71 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0
14 | Add-Daksh | 1 Loop Fire Alarm Panel W/B | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
15 | Add-Daksh | 2 Loop Fire Alarm Panel W/B | 4 | 0 | 4 | -4 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Add-Daksh | 3 Loop Fire Alarm Panel W/B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Add-Daksh | 8 Loop Fire Alarm Panel W/B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | Add-Daksh | Addressable Repeater Panel | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0
19 | Hooter | Hooter with Flasher (Mini) | 0 | 114 | 0 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Hooter | Hooter LMT ABS | 214 | 257 | 0 | 43 | 43 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 0
21 | Hooter | Hooter LMT Metal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Hooter | Hooter Electronics Metal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Hooter | Hooter Electronics ABS | 31 | 0 | 0 | -31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0
24 | MCP | Manual Call Point ABS | 228 | 105 | 0 | -123 | 41 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 92 | 0 | 0 | 0
25 | MCP | Manual Call Point metal | 29 | 26 | 0 | -3 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | Detector-Daksh | Smoke Detector w/o Base | 4667 | 1020 | 0 | -3647 | 0 | 0 | 0 | 0 | 2481 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 1294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 790 | 0 | 0 | 0
27 | Detector-Daksh | Smoke Detector w/o Base 2WRR | 1253 | 0 | 0 | -1253 | 960 | 0 | 0 | 293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Detector-Daksh | Heat Detector w/o Base 2WRR | 320 | 16 | 0 | -304 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | Detector-Daksh | Heat Detector w/o Base | 1300 | 373 | 0 | -927 | 0 | 0 | 0 | 0 | 582 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132 | 0 | 0 | 176 | 0 | 0 | 0
30 | Detector-Daksh | Multi Detector w/o Base | 44 | 84 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | Detector-Daksh | Detector Base | 6759 | 11979 | 0 | 5220 | 1280 | 0 | 0 | 0 | 3063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 0 | 0 | 966 | 0 | 0 | 0
32 | RI | Response Indicator Abs Small | 215 | 0 | 470 | -215 | 41 | 0 | 0 | 0 | 154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0
33 | Talk Back System | Fire Fighter Telephone Jeck (ABS) | 121 | 45 | 100 | -76 | 40 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | Speaker | 6W Ceilling Speaker Daksh 3" | 0 | 82 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | Speaker | 6W Ceilling Speaker Daksh 6" | 376 | 150 | 0 | -226 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 335 | 0 | 0 | 0 | 0 | 0 | 0
36 | smps | SMPS with Box (Power Supply SMPS 24V-10Amp. with battery charger and Battery for zone monitor module) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | smps | SMPS with box- 24 Volt 14 Amp with battery charger & 2 x 12 Volt 7AH sealed lead-acid battery including cost of powder coated MS outlet box etc. | 7 | 0 | 6 | -7 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
38 | Talk Back System | Telephone Handset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | Talk Back System | Modificatino in existing panel Talkback System (Master /Slave Type) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | PA System | Addressable Fire Alarm Control Panel 2 Loop with PA System including a) Main Amplifire 250 Watt., b) 4 way selector switch & all call with Individual Zone LED's. c) Priority module for addressable fire alarm system. d) Circuit for compatibility to addressable fire alarm system. e) 1 Nos. microphone. f) Voice Alarm Controller with Output divider circuit. g) USB Player with facility of Aux, Bluetooth. h) Power supply & battery charger. j) Monitor Speaker with Volume control. k) Internal wiring & connector. l) Alarm signal generator , m) Battery 12V-12 Ah 2 Nos. n) Both side announcement facility tower panel as well as main panel complete as per BOQ Specification. (Tower Panel) | 3 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | Talk Back System | Fire Fighting Telephone jack (MS) (with ABS Junction Box) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | vision | Power Supply Card of Fire Alarm panel, Model- VISION (Main Mother Board Card-1 Zone Panel as per old supplied panel) | 25 | 0 | 25 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | RIGEL | 32 Zone Regel Fire Alarm Panel Rigel | 1 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | RIGEL | 16 Zone Regel Fire Alarm Panel Rigel with battery | 1 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
45 | RIGEL | Repeater Panel daksh rigel | 2 | 0 | 2 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
46 | PA System | PA System with following items ( 2 x 400 Watt Amplifire, 10 way selector & all call switch, circiut for compatable with conventional Rigel fire alarm panel, Microphone, USB Player, Power supply , battery, 10 way main talkback system telephone type complete as per specification | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | VISION-II | Power Supply Card of Fire Alarm panel, Model- VISION-II | 1 | 0 | 0 | -1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | VISION-II | Mother Board Card of Fire Alarm panel, Model- VISION-II | 1 | 0 | 0 | -1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | VISION-II | Mother Board Card of Repeater panel, Model- VISION-II | 1 | 0 | 0 | -1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | Talk Back System | Fire Fighting Telephone Jack (MS) (with Potential free contract, MS Junction Box) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NCS | NCS Bed Switch | 9 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NCS | NCS Toilet Module | 9 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | NCS | NCS System with Display 16 Way | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | PA System | Supply of Power / Booster Amplifier, 1000 W PA with PA Rack complete with 4 way selection switch with power supply + battery charger + battery housing + Talk Back Master Station and PA Console including battery with 30 minutes backup of required capacity. | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | PA System | PA System (4 Zone Fire Alarm Control Panel DAKSH-RIGEL, with 60 Watt Daksh Amplifier, Microphone, All Call Facility, Power Supply, Battery Charger & 2 Nos. Battery 12V-7AH Exide Both side announcement facility tower panel as well as main panel complete as per BOQ Specification) | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | PA System | Public address with talkback System Console consisting of following item and complete as required: a) Main Amplifire 160 Watt. b) 2 Way Selector switch with All Call facility. c) Priority module for fire alarm system. d) Circuit for compatibility to fire alarm system. e) 1 Nos. microphone. f) Power supply & battery charger. g) Battery 12Volt - 02 Nos. i) Monitor speaker with volume control. j) Internal wiring & connector. k) Alarm signal generator l) Single Zone Main Talk Back System Telephone Type | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | PA System | PA System Operator Console complete with 1 x 250 W ( RMS ) channel mixing Ahuja Make Amplifiers with 1 channel, 1 no micro phone Ahuja Make, 1 no USB Player, a 10 zone Floor Selector Console, a Change over Panel for connection to the Fire Alarm Panel, a Mains Panel and a Monitor Panel all pre wired complete in all respects. (Note: We will provide dry contracts for Integration with Fire Alarm panel) | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Speaker-Ahuja | PA Wall Speaker 6w Ahuja WS-661T | 10 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | PA System | PA System Operator Console complete with 1 x 60 W Ahuja Make Amplifiers, micro phone Ahuja Make etc.) at security room Note: Kindly contact with Client Virender-8851815419 detail configuration etc for this panel) | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | Add-Daksh + PA System + Talkback Systerm | 8 Loop Addressale Fire Alarm Control Panel with Public addressable System Console consisting of following item and complete as required: a) Main Amplifire 250 Watt. b) 16 way selector switch & all call. c) Priority module for addressable fire alarm system. d) Circuit for compatibility to addressable fire alarm system. e) 1 Nos. microphone. f) Controller with Output divider circuit.. g) Power supply & battery charger. h) Battery 12Volt - 02 Nos. i) Monitor control panel. j) Internal wiring & connector. k) Alarm signal generator l) 16 Way Main Talk Back System Telephone Type m) Both side announcement facility tower panel as well as main panel n) Automatic Voice Eveacuation System (Master Panel) | 1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | MCU | Manual Control Unit (as | 8 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 | VISION | Vison Power Supply Card with connector | 6 | 10 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | VISION | Vison Control Card with connector | 6 | 10 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 | VISION | Vision Expander Card Big | 7 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
65 | Eco | Eco 2 Zone Fire Alarm Panel | 10 | 14 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 | FireRay-Beam Det. | Optical Beam Smoke Detector FireRay 6010-300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | Speaker | 6 Watt Wall Mounted Speaker 551T | 146 | 21 | 0 | -125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 0 | 0 | 0 | 0 | 0 | 0
68 | Hooter flasher | Hooter cum Flahser Metal 220V AC operated | 80 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0
69 | Talk Back System | Talkback Slave Unit ABS (Press to talk) | 92 | 11 | 0 | -81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 0
0 | pa System | PA System with talkback system (consisting of following item and complete as required: a) Main Amplifire 250 Watt. b) 04 way selector switch & all call with Individual Zone LED's. c) Priority module for addressable fire alarm system. d) Circuit for compatibility to addressable fire alarm system. e) 1 Nos. microphone. f) Voice Alarm Controller with Output divider circuit.. g) USB Player with facility of Aux, Bluetooth. h) Power supply & battery charger. i) Battery 12Volt-7Ah - 02 Nos. j) Monitor control panel. k) Internal wiring & connector. l) Alarm signal generator m) Main Fire Fighting Talk Back with Press to talk Facility ( with inbuilt 60 watt amplifier for talkback) (Make-Daksh) | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
0 | Vision | Vision Zone Card (Zone wise) | 2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
0 | Add-Daksh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1